## Sheet1
24/04176/FUL: Residential development of 70 dwellings including access, open space, landscaping and associated works. Land To The East Of Tilstock Road Tilstock Whitchurch Shropshire
https://pa.shropshire.gov.uk/online-applications/applicationDetails.do?keyVal=SM6NZ7TDLD100&activeTab=summary
Statutory Consultee | Date | Respone | Summary
SC Ecologist | 2024-11-07 | Please submit the Condition Assessments. The BNG metric only includes the baseline habitats. Post-development interventions need to be provided to show how 10% net gain is going to be achieved. Should 10% net gain not be possible on the site, justification as to why this is the case, details of how 10% will be achieved (e.g. off-site or buying units) and how this meets the BNG hierarchy need to be provided. SKYLARKS The Preliminary Ecological Appraisal (Cass Design Consultants, October 2024) identified skylark 'on or immediately adjacent to the Site' during the survey. Further survey work should be carried out to ascertain whether skylarks are breeding on the site, and therefore whether any mitigation or compensation measures will be required. GREAT CRESTED NEWTS The Preliminary Ecological Appraisal states that 'Further assessment of these ponds was undertaken in the form of eDNA sampling, the results of which are presented in a separate report.' Please submit this report. The Preliminary Ecological Appraisal goes on to say that 'The project will be registered on the Natural England led District Level Licence (DLL) Scheme'. Please see the government website for information on how to join the DLL scheme: https://www.gov.uk/government/publications/great-crested-newts-district-level-licensing-schemes-for-developers/developers-how-to-join-the-great-crested-newt-district-level-licensing-scheme The website states: 'You must include a copy of the countersigned agreement [the Impact Assessment and Conservation Payment Certificate] with your application for planning permission to show you've agreed to join the scheme.' A countersigned IACPC needs to be submitted in support of the planning application. Without this, the LPA cannot consider the favourable conservation status test under the Habitats Regulations 3 derogation tests. HABITATS REGULATIONS ASSESSMENT - RECREATIONAL IMPACTS ON INTERNATIONAL SITES This application must be considered under the Habitats Regulations Assessment process in order to satisfy the Local Authority duty to adhere to The Conservation of Habitats and Species Regulations 2017 (known as the Habitats Regulations). Recreational pressure on Cole Mere (part of the Midlands Meres and Mosses Phase 2 Ramsar) has been identified as having an adverse impact on this designated site. The application site lies approximately 11.3km from Cole Mere. Both the Cole Mere Visitor Survey Report (EPR, May 2018) and the Cole Mere Management Plan 2020-2025 (Shropshire Council) identify that recreational pressure is influencing the integrity of Cole Mere and impacting upon the aim to bring it into favourable condition. Face to face visitor questionnaire surveys using a standard methodology were carried out at Cole Mere in August and September 2017. The results suggest that baseline recreational pressure is around 8.75 people per hour (averaged over the year) and 37,000 people per year. The study proposed an indicative catchment area of 11.7km (75% of visits) from Cole Mere, within which developments involving a net increase in housing may contribute to an increase in recreation pressure at the site. The main reasons for visitors choosing Cole Mere included the natural look and feel of the site, proximity to home, and being able to let the dog off the lead. The vast majority of visitors completed the circular walk around the lake, a walk of 2.5 km and several commented that it was a well-maintained path and an easy walk. The majority of visitors had dogs with them (56.9%) and the majority of dogs were allowed off leads (82.2%), while almost half (48.3%) entered the water. The report concluded that, in light of the high baseline visitation levels at Cole Mere, any increase in recreational pressure arising from new housing within the 11.7km catchment is likely to give rise to significant adverse effects upon the structure, function and integrity of the site, and that impact avoidance measures are required. In order to mitigate such impacts, Mr Shaun Burkey, Countryside and Heritage Sites Manager (North), identified a suite of visitor improvement measures that could be implemented at the site, to mitigate recreational impacts, and which the proposed development could contribute to, including improved visitor signage, car park improvements and protection of the rare least water lily. A contribution of £50 per bedroom towards to the management of Cole Mere will therefore be required, to mitigate for impacts to this designated site, to support the aims and objectives for the reserve set out in the Cole Mere Management Plan 2020-2025 and is commensurate with contributions secured for other housing schemes within the catchment of Cole Mere. An Appropriate Assessment will need to be compiled for Brown Moss once agreement of the financial contribution has been confirmed by the applicant. The financial contribution to ongoing visitor management mitigation measures may need to be secured in a section 106 agreement. HABITATS REGULATIONS ASSESSMENT - RECREATIONAL IMPACTS ON INTERNATIONAL SITES This application must be considered under the Habitats Regulations Assessment process in order to satisfy the Local Authority duty to adhere to The Conservation of Habitats and Species Regulations 2017 (known as the Habitats Regulations). Recreational pressure on Brown Moss (part of the Midlands Meres and Mosses Phase 1 Ramsar) has been identified as having an adverse impact on this designated site. The application site lies approximately 2km from Brown Moss. Brown Moss lies within the catchment where any increase in houses would likely give rise to effects on Brown Moss as a result of increased recreation if not mitigated. Face to face visitor questionnaire surveys using a standard methodology were carried out at Brown Moss in August and September 2017. The results suggest that baseline recreational pressure is around 3 people per hour (averaged over the year) and 16,060 people per year. The study proposed an indicative catchment area of 3.4km (75% of visits) from Brown Moss, within which developments involving a net increase in housing may contribute to an increase in recreation pressure at the site. The report concluded that in light of the sensitivity of the site, any increase in visitor pressure (even if small) is likely to act in combination with other pressures upon the site's structure and function causing a significant effect on the site's integrity. In order to mitigate such impacts, Mr Shaun Burkey, Countryside and Heritage Sites Manager (North), identified a suite of visitor improvement measures that could be implemented at the site to mitigate recreational impacts and which the proposed development could contribute to, including improved visitor signage and increased infrastructure maintenance. A contribution of £50 per bedroom towards these mitigation measures is therefore considered appropriate to assist in the delivery of the identified mitigation measures and is commensurate with contributions secured for other housing schemes within the catchment of a similarly affected international site (Cole Mere Ramsar). The contribution would assist in implementing visitor management measures to mitigate increased recreational pressure arising from the development over the long term. An Appropriate Assessment will need to be compiled for Brown Moss once agreement of the financial contribution has been confirmed by the applicant. The financial contribution to ongoing visitor management mitigation measures may need to be secured in a section 106 agreement. | Summary: Biodiversity Net Gain (BNG): Submit Condition Assessments. Provide post-development plans to achieve 10% BNG or justify off-site measures if on-site gain is unachievable. Skylarks: Conduct further surveys to confirm breeding activity and identify mitigation or compensation needs. Great Crested Newts: Submit the eDNA sampling report. Provide a countersigned Impact Assessment and Conservation Payment Certificate (IACPC) for compliance with District Level Licensing. Habitats Regulations Assessment (HRA): Cole Mere (11.3km from site): Recreational pressure from new housing affects site integrity. Mitigation: £50 per bedroom for visitor management measures (e.g., signage, car park improvements). Appropriate Assessment needed, with contributions secured via a Section 106 agreement. Brown Moss (2km from site): Increased recreation from housing impacts site integrity. Mitigation: £50 per bedroom for visitor improvements (e.g., signage, maintenance).
SC Affordable Housing | 2024-11-08 | A scheme of 70 new homes would need to provide 10 affordable homes on site and a financial contribution. A proforma needs to be submitted so the contribution can be calculated and agreed. The affordable homes on site should be made up of 7 affordable rent and 3 shared ownership. There is a small amount of affordable need in Whitchurch rural but mainly for Prees Heath and this is predominantly for 1 bedroomed homes. We do therefore welcome the 1 bed bungalows. (although in a different settlement) The only terraces on the site are the other affordable dwellings and would therefore question if the affordable were indistinguishable from the open market homes. Could the applicant confirm the floor areas for all of the affordable properties and whether the site is to be competed in phases and I will comment further then. | Summary: Affordable Housing Requirements: For 70 homes, provide 10 affordable homes on-site (7 affordable rent and 3 shared ownership) and a financial contribution. Submit a proforma to calculate and agree on the contribution. Local Needs: Affordable housing needs in Whitchurch rural, mainly for Prees Heath, focus on 1-bedroom homes. The inclusion of 1-bedroom bungalows is welcomed despite their location in a different settlement. Design and Layout: Question raised about whether affordable homes (terraces) are indistinguishable from open-market homes. Further Details Required: • Confirm floor areas of all affordable properties. • Clarify if the site will be completed in phases for additional comments. • Assessment required, with contributions formalised through a Section 106 agreement.
SC LEARNING & SKILLS | 2024-11-11 | Shropshire Council Learning and Skills reports that current forecasts indicate the need for additional school place capacity for both primary and secondary level. This development along with future housing in the area is highly likely to create a requirement for additional school places to support the educational needs of children in the area. It is therefore essential that the developers of this and any new housing in this area contribute towards the consequential cost of any additional places or facilities considered necessary to meet pupil requirements in the area. Due to the scale of development and the number of pupils it will generate it is recommended that contributions for both primary and secondary education provision are secured via a CiL agreement. It is projected (using latest DFE yield data) that 70 houses will result in: 6 new EARLY YEARS places (DFE Yield 0.07) 23 new PRIMARY places (DFE Yield 0.27) 9 new SECONDARY places (DFE Yield 0.14) 4 new POST 16 places (DFE Yield 0.05) and 1 child who will require an EHCP (Educational Health Care Plan) (DFE Yield 0.01) | Summary: School Place Requirements: Additional school capacity is needed at both primary and secondary levels due to current forecasts and new housing developments. Developers must contribute towards the costs of additional places or facilities via a Community Infrastructure Levy (CiL) agreement. Projected Impact of 70 Homes (Based on DFE Yield Data): Early Years: 6 places. Primary: 23 places. Secondary: 9 places. Post-16: 4 places. Special Needs (EHCP): 1 child.
SC Archaeology (Historic Environment) | 2024-11-14 | Background to Recommendation: These updated comments follow those for PREAPP/24/00151. It is noted that the site boundary for the present application is amended and slightly larger than that for the preapplication enquiry. The proposed development site is north of Tilstock. At present there are no records of any features with archaeological interest on the Shropshire Historic Environment Record (HER) on the proposed development site itself. However, it is located near known heritage assets to the south, including the Grade II Listed Building of Christ Church (NHLE 1177184) approximately 100m away. Artefacts dating from the early medieval to post medieval periods have been recorded nearby through the Portable Antiquities Scheme, the nearest being less than 50m from the proposed development site. Historic mapping indicates a pond, footpath and former field boundary were located in the proposed development site in the 19th century. Mapping and aerial photography indicates limited development of the site, suggesting the possibility that currently unrecorded archaeological features and deposits are present on the preapplication site. It is noted that a Heritage Assessment by Pegasus Group has been prepared in support of the proposed development. Officers concur with the assessment that there is low potential for archaeological remains dating from the prehistoric to post medieval periods, and that these remains may be of up to regional significance. Officers also agree that the paucity of recorded activity may reflect an absence of previous archaeological investigation. RECOMMENDATION: With regard to the requirements set out in Local Plan Policy MD13 and Paragraph 200 of the NPPF (December 2023), it is advised that the Heritage Assessment is sufficient in determining the application. In relation to Local Plan Policy MD13 and Paragraph 211 of the NPPF (December 2023), it is advised that a phased programme of archaeological work is made a condition of any planning permission. This should comprise an initial field evaluation, consisting of a geophysical survey and a targeted trial trenching exercise of the overall site area, followed by further mitigation as appropriate. An appropriate condition would be: - Suggested Conditions: JJ36 (a) No development approved by this permission shall commence until a written scheme of investigation for a programme of archaeological work has been submitted to and approved by the local Planning Authority in writing. The submitted details shall include post-fieldwork reporting and appropriate publication. (b) The approved programme of archaeological work set out in the written scheme of investigation shall be implemented in full and a report provided to the local planning authority prior to first use or occupancy of the development. The report shall include post fieldwork assessments and analyses that have been completed in accordance with the approved written scheme of investigation. This shall include evidence that the publication and dissemination of the results and archive deposition has been secured. Reason: The site is known to hold archaeological interest. | Summary: Site Context and Heritage: The proposed development site near Tilstock has no recorded archaeological features on the Shropshire Historic Environment Record (HER). Nearby heritage assets include the Grade II Listed Christ Church (100m away) and artefacts from the early medieval to post-medieval periods. Historic mapping indicates a pond, footpath, and former field boundary on-site in the 19th century, with limited subsequent development suggesting potential for unrecorded archaeological features. Heritage Assessment: A Heritage Assessment by Pegasus Group concludes low potential for archaeological remains, though any findings may be regionally significant. Officers concur with the assessment but note the absence of prior archaeological investigation. Recommendations and Conditions: A phased archaeological work program is recommended as a condition of planning permission, aligned with Local Plan Policy MD13 and NPPF guidance. The program should include: Geophysical survey and trial trenching. Post-fieldwork reporting and publication. Suggested conditions require approval and implementation of a written scheme of investigation before development and submission of a final report to the local authority prior to occupancy.
SC Regulatory Services | 2024-11-19 | Environmental Protection has identified the site and surrounding areas as potentially contaminated land, due to unknown filled ground at the centre of the site, under the Council's Environmental Protection Act 1990 Part 2A responsibilities. It is noted a Phase I Desk Study has been submitted with the application - which recommended further site investigation. A Preliminary Review of Ground Conditions, Geotechnical & Geo-Environmental Conclusions has also been submitted. For Environmental Protection to comment further, a full Phase 2 Site Investigation report will need to be uploaded with this application. When this is submitted, Environmental Protection can be again consulted and formal comments regarding any potential conditions can be posted. | Summary: • Environmental Protection has identified the site as potentially contaminated due to unknown filled ground, in line with the Council's responsibilities under the Environmental Protection Act 1990 Part 2A. • A Phase I Desk Study recommended further investigation, and a preliminary review of ground conditions has been provided. • To proceed, a full Phase 2 Site Investigation report must be submitted, after which Environmental Protection can provide formal comments and conditions.
SC Trees | 2024-11-26 | Dwg. No: Site Visit: no Tree Locations Verified: Constraints: no Notes: I have reviewed submitted documents and drawings and on behalf of Shropshire Council Tree Team I wish to comment on arboricultural aspects related to the proposed development. Comments are made regarding the submitted layout and the proposed landscaping scheme. 1. Layout: The Site Layout Plan (P24-1425_DE_002_C_02) is considered generally acceptable from an arboricultural perspective. There is, however, one point at the north-east corner of the site where a conflict is perceived between the housing layout as proposed and existing boundary trees to be retained. The rear gardens of plots 67, 68 and 69 are seen to be overhung to a considerable degree (about half of each garden) by the canopies of two mature oak trees located within the hedgerow boundary to the site. These trees are identified in the Arboricultural Assessment (fpcr, October 2024) as T2 and T3. These trees are currently recorded as being 16m in height and having radial crown spreads of 8m (T2) and 9m (T3). Although classed as 'mature', both these trees have the potential to increase significantly in size, by up to some 10m in height and some 4-5m in radial branch spread. The trees are located to the north of the dwellings, so shading of the properties is not considered to present undue problem. However, the degree of canopy overhang is considered to be excessive, and likely to restrict reasonable use and enjoyment of the gardens. In addition, the proximity of these large trees is likely to have an overbearing presence as a ¿green wall¿ from the main rooms windows facing them and, being mature trees which naturally carry a certain amount of dead wood, cause concerns for future occupants as to tree safety. These issues are likely to lead to pressure for heavy pruning or possibly even removal of the trees. This could not be considered a successful juxtaposition between trees and new housing and thus does not constitute a sustainable development. It is contrary to the NPPF and local development framework policies on sustainable development and design and protection of the natural environment (CS6, MD2 and MD12). It is therefore recommended that the layout of the development be reviewed and amended with respect to plots 67, 68 and 69, so as to create a more successful and sustainable juxtaposition between trees T2 and T3 and the dwellings and their gardens on these plots. 2. Landscaping: The landscaping scheme as shown on the Landscape Masterplan (P24-1425_EN_06A) is generally supported. However, there are a few points of detail on the Detailed POS Hard and Soft Landscape Proposals and the On-Plot Landscape Proposal drawings (P24-1425_EN_07A and P24-1458_EN_010 respectively) that we would raise as follows: 1. It is recommended that the tree planting pit specification be amended to include the use of a proprietary root deflecting barrier wherever trees are to be planted close to vulnerable hard surfaces such as parking bays, patios, garden walls, foot paths or other hard surfaces on shallow foundations. This is to prevent future root growth causing damage to the adjacent hard surface. We would suggest installing a suitable root barrier to a depth of 15 - 20cm or so below the bottom of the sub-base or foundation to be protected, along the edge of the vulnerable surface where it lies within say 2.5 - 3m of a newly planted tree. It is also recommended that the specific locations where the root barrier is to be installed be shown on a suitable approved plan. 2. It is proposed to plant two nos of the evergreen tree Ligustrum japonicum in front of the houses on plots 67 and between plots 68 and 69. As described above, the rear garden space of these properties is effectively largely ¿sterilised¿ by the canopies of the overhanging mature oak trees on these plots. Further planting of evergreen trees close to the front of these relatively small plots could add to the sense of enclosure created by the trees. It is recommended that the two L.japonicum be removed from in front of these plots, perhaps replacing them with a suitable species of smaller specimen shrub. Officer: County Arboriculturalist | Summary: Site Layout: Concern: Plots 67, 68, and 69 are significantly overhung by the canopies of two mature oak trees (T2 and T3) from the site's northeastern boundary. These trees, currently 16m tall with 8-9m radial crown spreads, could grow larger, potentially impacting the usability of gardens and creating an overbearing presence. Implication: Future occupants may feel compelled to prune or remove the trees, contrary to sustainable development policies (NPPF, CS6, MD2, MD12). Recommendation: Revise the layout of these plots to reduce conflict and achieve a sustainable relationship between the housing and the trees. Landscaping Scheme: General Support: The proposed landscaping scheme is largely acceptable, but detailed adjustments are needed: Root Deflection Barriers: Amend planting pit specifications to include root barriers for trees near vulnerable hard surfaces, ensuring long-term protection against root damage. Tree Species Adjustment: Replace two proposed Ligustrum japonicum trees in front of plots 67, 68, and 69 with smaller shrub species to avoid adding to the enclosed feel created by the overhanging oaks and maintain a balanced landscape.
SUDS | 2024-12-03 | The technical details submitted for this Planning Application have been appraised by WSP UK Ltd, on behalf of Shropshire Council as Local Drainage Authority. All correspondence/feedback must be directed through to Shropshire Council's Development Management Team. Condition: No development shall take place until a scheme of surface and foul water drainage has been submitted to and approved in writing by the Local Planning Authority. The approved scheme shall be fully implemented before the development is occupied/brought into use (whichever is the sooner). Reason: The condition is a pre-commencement condition to ensure satisfactory drainage of the site and to avoid flooding. Drainage Comment: The submitted FRA states that infiltration to ground is not feasible for this site and Shropshire Council do not ordinarily accept pumped surface water solutions. The proposals to discharge surface water to a public surface water sewer are therefore acceptable in principle but require consent for both connection and discharge rate, from Severn Trent. The following items require attention: 1. Mains surface water connection agreement. The information held in Appendix 6 of the FRA does not indicate acceptance of the proposed surface water discharge rate or a connection agreement, by Severn Trent. The applicant must submit evidence to show that Severn Trent are willing to accept the surface water into the mains sewer and at the proposed discharge rate. 2. Determination of groundwater at location of proposed attenuation pond and swales The drainage strategy utilises an attenuation pond in the southeast corner of the site, the depth of which is indicated to be around 1.6 to 1.9m deep. The Phase 2 site investigation, reports groundwater at between 0.3m and 1.2m below ground level, across the site. Groundwater must not be allowed to interact with any proposed attenuation ponds or swales, which may cause loss of storage volume. The level of groundwater must be determined in the location of the proposed attenuation pond and at representative locations along the routes of the swales. Results including a location plan of test locations must submitted for approval. 3. Attenuation basin The volume of the pre-treatment pond should be stated and reconciled with the existing pond. The proposed attenuation pond volume and pretreatment pond must accurately represent the existing situation and provide sufficient storage within the drainage network for the 1% Annual Exceedance Probability rainfall event + 40% for climate change. 4. Network simulation results Network simulation results should be submitted for approval. Allowances for urban creep should be made within impermeable areas ' see informative. 4. Maintenance access An access arrangement should be shown from the street to the pond, to allow for access of maintenance vehicles and equipment. 5. Swales A typical cross section for the swales should be defined and submitted, e.g. on the retention basin cross section drawing, such that, alongside layout plans, storage volumes can be determined. Informative: a) Network simulation results The attenuation drainage system should be designed so that the 1% Annual Exceedance Probability rainfall event + 40% for climate change will not cause flooding of any property either within the proposed development or contribute to flooding outside of the development. The total site area used to estimate the existing Greenfield runoff rate should equal the impermeable area within the proposed development, it should not include any area of soft landscaping or other permeable area. b) Urban Creep Urban creep is the conversion of permeable surfaces to impermeable over time e.g. surfacing of front gardens to provide additional parking spaces, extensions to existing buildings, creation of large patio areas. The appropriate allowance for urban creep must be included in the design of the drainage system over the lifetime of the proposed development. The allowances set out below must be applied to the impermeable area within the property curtilage: Residential Dwellings per hectare == Change allowance % of impermeable area Less than 25 == 10% 30 == 8% 35 == 6% 45 == 4% More than 50 == 2% Flats & apartments == 0% Note: where the inclusion of the appropriate allowance would increase the total impermeable area to greater than 100%, 100% should be used as the maximum. Curtilage' means area of land around a building or group of buildings which is for the private use of the occupants of the buildings. A drained area plan clearly showing the addition of urban creep must be submitted for approval. | Summary : Key Findings and Requirements: • Surface Water Connection Agreement: Evidence is required to show Severn Trent's consent for surface water discharge into the mains sewer at the proposed rate. • Groundwater Determination: Groundwater levels near the proposed attenuation pond and swales must be tested and mapped to ensure they do not interfere with drainage infrastructure. • Attenuation Basin: The pre-treatment and attenuation pond volumes must be accurately calculated and designed to handle a 1% Annual Exceedance Probability rainfall event plus 40% for climate change. • Network Simulation: Drainage network simulations must account for urban creep and demonstrate no flooding within or outside the development during extreme rainfall. • Maintenance Access: Plans must include access for maintenance vehicles to service the attenuation pond. • Swales Design: Cross-sectional details and layout plans for swales are required to determine storage volumes. Additional Informative Points: • Urban Creep Allowance: The design must account for future increases in impermeable areas due to urban creep, with specific percentages provided based on residential density. • Flooding Mitigation: The drainage system must prevent property flooding under extreme weather conditions. • The applicant must address these requirements and provide supporting evidence and designs for approval.
SC Regulatory Services | 2024-12-09 | Environmental Protection acknowledges the Phase II Site Investigation report submitted on behalf of application 24/04176/FUL by Eastwood Consulting Engineers, dated 28th November 2024. Gas monitoring has not yet been fully completed at the site (3 rounds have been completed, out of the minimum required 6 rounds ' see Table 5.5 of CIRIA C659 - Assessing Risks) and a spike in CH4 has been recorded that needs further monitoring, in addition to an elevated level of CO2 at 5.4%. As per British Standard 8485:2015+A1:2019, these levels could merit consideration for CS2 classification. Therefore, Environmental Protection cannot currently accept the site is classified as CS1 and further monitoring to meet the minimum requirements is necessary. | Summary: • Environmental Protection has reviewed the Phase II Site Investigation report for application 24/04176/FUL by Eastwood Consulting Engineers, dated 28th November 2024. • Gas monitoring is incomplete, with only 3 of the required 6 rounds finished. A spike in methane (CH4) and an elevated carbon dioxide (CO2) level at 5.4% have been recorded. • These findings may warrant a CS2 classification under British Standard 8485:2015+A1:2019. • Therefore, Environmental Protection cannot currently accept a CS1 classification, and further monitoring is required to meet the minimum standards.
SC Ecologist | 2025-01-21 | I am happy with the submitted GCN IACPC and will complete a 3 tests matrix once the additional information has been submitted. However, the other previously requested information has not yet been submitted: BIODIVERSITY NET GAIN Please submit the Condition Assessments. The BNG metric only includes the baseline habitats. Post-development interventions need to be provided to show how 10% net gain is going to be achieved. Should 10% net gain not be possible on the site, justification as to why this is the case, details of how 10% will be achieved (e.g. off-site or buying units) and how this meets the BNG hierarchy need to be provided. SKYLARKS The Preliminary Ecological Appraisal (Cass Design Consultants, October 2024) identified skylark on or immediately adjacent to the Site during the survey. Further survey work should be carried out to ascertain whether skylarks are breeding on the site, and therefore whether any mitigation or compensation measures will be required. HABITATS REGULATIONS ASSESSMENT - RECREATIONAL IMPACTS ON COLE MERE This application must be considered under the Habitats Regulations Assessment process in order to satisfy the Local Authority duty to adhere to The Conservation of Habitats and Species Regulations 2017 (known as the Habitats Regulations). Recreational pressure on Cole Mere (part of the Midlands Meres and Mosses Phase 2 Ramsar) has been identified as having an adverse impact on this designated site. The application site lies approximately 11.3km from Cole Mere. Both the Cole Mere Visitor Survey Report (EPR, May 2018) and the Cole Mere Management Plan 2020-2025 (Shropshire Council) identify that recreational pressure is influencing the integrity of Cole Mere and impacting upon the aim to bring it into favourable condition. Face to face visitor questionnaire surveys using a standard methodology were carried out at Cole Mere in August and September 2017. The results suggest that baseline recreational pressure is around 8.75 people per hour (averaged over the year) and 37,000 people per year. The study proposed an indicative catchment area of 11.7km (75% of visits) from Cole Mere, within which developments involving a net increase in housing may contribute to an increase in recreation pressure at the site. The main reasons for visitors choosing Cole Mere included the natural look and feel of the site, proximity to home, and being able to let the dog off the lead. The vast majority of visitors completed the circular walk around the lake, a walk of 2.5 km and several commented that it was a well-maintained path and an easy walk. The majority of visitors had dogs with them (56.9%) and the majority of dogs were allowed off leads (82.2%), while almost half (48.3%) entered the water. The report concluded that, in light of the high baseline visitation levels at Cole Mere, any increase in recreational pressure arising from new housing within the 11.7km catchment is likely to give rise to significant adverse effects upon the structure, function and integrity of the site, and that impact avoidance measures are required. In order to mitigate such impacts, Mr Shaun Burkey, Countryside and Heritage Sites Manager (North), identified a suite of visitor improvement measures that could be implemented at the site, to mitigate recreational impacts, and which the proposed development could contribute to, including improved visitor signage, car park improvements and protection of the rare least water lily. A contribution of £50 per bedroom towards to the management of Cole Mere will therefore be required, to mitigate for impacts to this designated site, to support the aims and objectives for the reserve set out in the Cole Mere Management Plan 2020-2025 and is commensurate with contributions secured for other housing schemes within the catchment of Cole Mere. An Appropriate Assessment will need to be compiled for Brown Moss once agreement of the financial contribution has been confirmed by the applicant. The financial contribution to ongoing visitor management mitigation measures may need to be secured in a section 106 agreement. HABITATS REGULATIONS ASSESSMENT - RECREATIONAL IMPACTS ON BROWN MOSS This application must be considered under the Habitats Regulations Assessment process in order to satisfy the Local Authority duty to adhere to The Conservation of Habitats and Species Regulations 2017 (known as the Habitats Regulations). Recreational pressure on Brown Moss (part of the Midlands Meres and Mosses Phase 1 Ramsar) has been identified as having an adverse impact on this designated site. The application site lies approximately 2km from Brown Moss. Brown Moss lies within the catchment where any increase in houses would likely give rise to effects on Brown Moss as a result of increased recreation if not mitigated. Face to face visitor questionnaire surveys using a standard methodology were carried out at Brown Moss in August and September 2017. The results suggest that baseline recreational pressure is around 3 people per hour (averaged over the year) and 16,060 people per year. The study proposed an indicative catchment area of 3.4km (75% of visits) from Brown Moss, within which developments involving a net increase in housing may contribute to an increase in recreation pressure at the site. The report concluded that in light of the sensitivity of the site, any increase in visitor pressure (even if small) is likely to act in combination with other pressures upon the sites structure and function causing a significant effect on the sites integrity. In order to mitigate such impacts, Mr Shaun Burkey, Countryside and Heritage Sites Manager (North), identified a suite of visitor improvement measures that could be implemented at the site to mitigate recreational impacts and which the proposed development could contribute to, including improved visitor signage and increased infrastructure maintenance. A contribution of £50 per bedroom towards these mitigation measures is therefore considered appropriate to assist in the delivery of the identified mitigation measures and is commensurate with contributions secured for other housing schemes within the catchment of a similarly affected international site (Cole Mere Ramsar). The contribution would assist in implementing visitor management measures to mitigate increased recreational pressure arising from the development over the long term. An Appropriate Assessment will need to be compiled for Brown Moss once agreement of the financial contribution has been confirmed by the applicant. The financial contribution to ongoing visitor management mitigation measures may need to be secured in a section 106 agreement. Please contact me, or one of the other Ecology team members, if you have any queries on the above. Sophie Milburn Planning Ecologist sophie.milburn@shropshire.gov.uk Tel.: 01743 254765 Please contact me, or one of the other Ecology team members, if you have any queries on the above. Sophie Milburn Planning Ecologist sophie.milburn@shropshire.gov.uk Tel.: 01743 254765 | Summary: GCN IACPC Submission: • Ecologists are happy with submitted GCN IACPC. • Will complete 3 tests matrix once additional information has been submitted. Biodiversity Net Gain (BNG): • Condition assessments required for submitting. • BNG metric only includes baseline habitats; post-development interventions required to show 10% net gain. • If 10% net gain isn’t achievable, justification for this, and off-site solutions or unit purchases need to be provided. Skylarks: • Preliminary Ecological Appraisal (October 2024) identified skylarks on/near site. • Further survey work needs to be carried out to ascertain whether skylarks are breeding on the site, and therefore whether any mitigation or compensation measures will be required. HABITATS Regulations Assessment – Recreational Impacts on Cole Mere • The Habitats Regulations Assessment (HRA) is required to comply with the Conservation of Habitats and Species Regulations 2017, as recreational pressure on Cole Mere (Midlands Meres and Mosses Phase 2 Ramsar) is impacting the site. • The application site is approximately 11.3km from Cole Mere. • Both the Cole Mere Visitor Survey Report (2018) and Management Plan (2020-2025) identify recreational pressure as affecting Cole Mere’s integrity and goal of favourable condition. • 2017 visitor survey showed baseline recreational pressure at 8.75 people per hour (37,000 per year), with an indicative catchment area of 11.7km, where housing developments may increase pressure. • Visitors are attracted to Cole Mere for its natural look, proximity to home, and ability to let dogs off leads. Most visitors walk the 2.5km lake path; 56.9% had dogs, 82.2% of dogs were off leads, and 48.3% entered the water. • The report concludes that high baseline visitation means any increase from housing within the catchment could harm the site's structure, function, and integrity, requiring impact avoidance measures. • Mitigation measures identified by Shaun Burkey (Countryside and Heritage Sites Manager (North)) include improved signage, car park upgrades, and protection of the rare least water lily, which the development could contribute to. • A contribution of £50 per bedroom is required for Cole Mere management, supporting the 2020-2025 Management Plan, consistent with contributions from other developments. • An Appropriate Assessment for Brown Moss will be required once the financial contribution is confirmed. • The financial contribution may need to be secured through a section 106 agreement. Habitats Regulations Assessment – Recreational Impacts on Brown Moss: • The Habitats Regulations Assessment (HRA) is required to comply with the Conservation of Habitats and Species Regulations 2017, as recreational pressure on Brown Moss (Midlands Meres and Mosses Phase 1 Ramsar) is impacting the site. • The application site is approximately 2km from Brown Moss. • 2017 visitor survey showed baseline recreational pressure of 3 people per hour (16,060 per year), with an indicative catchment area of 3.4km, where housing developments may increase recreation pressure. • Due to the sensitivity of Brown Moss, any visitor increase is likely to significantly affect the site's structure and function. • Mitigation measures identified by Shaun Burkey (Countryside and Heritage Sites Manager (North)) include improved signage and infrastructure maintenance, which the development could contribute to. • A contribution of £50 per bedroom is required for mitigation, consistent with contributions from other housing schemes within the catchment of similar sites (e.g., Cole Mere Ramsar). • An Appropriate Assessment for Brown Moss will be needed once the financial contribution is confirmed. • The financial contribution may need to be secured through a section 106 agreement.