APPENDIX C - Surface Water Management: Interim Guidance for Developers

Note: This document forms an appendix to the Surface Water Management: Interim Guidance for Developers, which can be viewed on Shropshire Council’s website.  For details of submission requirements, refer to Section 7 of this document.

SURFACE WATER MANAGEMENT PLAN

A Surface Water Management Plan is required to accompany applications for all development within a medium or high risk surface water area and all major development proposals (10 or more dwellings or 0.5 hectares or more for residential development and 1,000m2 or more for non residential)

- Provide evidence of your investigations into the existing sources of flooding on the proposed development site?

e.g.: consultation with the Environment Agency, Shropshire Council Flood and Water Management Team and relevant water company

- Is the development site classed as:

Greenfield                      Brownfield

- What is the total area of the development site?

m2

- What is the area of hardstanding (impermeable surface) that currently exists on the development site?

m2

- What is the area of additional hardstanding will be added to the site as part of the development?

m2

- How has the site layout been designed to manage the surface water flood risk?

e.g.: Habitable parts of the development are located in the areas of the site at lowest risk of flooding and highways act as exceedance flow paths channelling excess water toward an attenuation pond.

- What is the means of discharge for surface water from the development site? Justification should be provided if infiltration methods are not being proposed.

|  | Infiltration |  |
| --- | --- | --- |
|  | Watercourse |  |
|  | Provide justification for not proposing to use infiltration methods |  |
|  | Sewer |  |
|  | Provide justification for not proposing to discharge to a watercourse (provide further justification, above, for not proposing to use infiltration methods) |  |

- What Sustainable Drainage Systems (SuDS) will be used on the development site?  Your response should include, as a minimum:

  - the type and dimensions of the SuDS that are to be implemented on the development site;

  - design assumptions including details of how they accord with the design criteria contained in the Interim Guidance;

  - calculations showing how the SuDS proposed will be adequate, and;

  - drawings, providing visual aid to the above, including layout, exceedance flow routes (contours) and construction details

Additional sheets should be attached, where necessary, and referenced in the table below.  Reference should be made to the SuDS Management Train in Section 7

| Type of SuDS feature |  | Design features- in accordance with design criteria |
| --- | --- | --- |
| Source Systems |  |  |
| Site Systems |  |  |
| Regional Systems |  |  |

- What consideration has been given to the multifunctional benefits of the chosen SuDS features?  Additional sheets should be attached, where necessary, and referenced in the table below.

| Benefit | Please tick whether this benefit will be achieved | Comment on how the benefit will be achieved |
| --- | --- | --- |
| Biodiversity |  |  |
| Recreation |  |  |
| Water Quality |  |  |
| Visual amenity |  |  |

- What are the secure, agreed maintenance processes that have been put in place for the each of the SuDS features described in Question 8?

e.g.: householder responsibility, management committee, local authority or water company