Quality Controls

Frequency of control testing

Controls should be analyzed:

- As part of the Monthly Internal Quality Control Regime

- Any time an unexpected test result or error is obtained.

- When training new operators in the correct use of the Afinion™ Analyzer.

- In compliance with national or local regulations.

Please document:

- The Month and Date of the Quality Control

- Record the LOT number of the 2 cassettes used to complete each round of samples – please use 2 cassettes from the same box with the same LOT numbers.

- Record LOT numbers of the C I and C II samples.

- Record results from both C I and C II samples.

- Record HBA1C - Target - Range – and result in mmol/mol

- Record LIPID - Target – Range and Total Cholesterol and HDL level in mmol/L

- Record a PASS If result on target or within range – Record a FAIL – if result is outside of range

Quality Control Log - Sample of completion

| Months | July / August 25 | Sample Lot no. | HBA1C CI | HBA1C CII |
| --- | --- | --- | --- | --- |
| Practitioner | Alan Smithee |  | 10225042 | 10225272 |
| Month | Date of Test | Target (Range) in mmol/mol | 43 (37 – 50) | 68 (60 – 77) |
| July | 05/7/24 | Sample Lot no. | LIPID CI | LIPD CII |
|  |  |  | 10223384 | 10223385 |
| August | 05/8/24 | Target (Range) in mmol/L TOT CHL | 4.80 (3.84 – 5.76) | 6.51 (5.21 – 7.81) |
|  |  | HDL | 0.95 (0.73 – 1.17) | 1.50 (1.16 – 1.85) |
| Month 1 | HBA1C | Cassette Lot | Result | Pass/fail |
| July | HBA1C CI | 102234576 | 42 | PASS |
|  | HBA1C CII |  | 68 | PASS |
|  | LIPID | Cassette Lot | Result | Pass/fail |
|  | LIPID CI | 105432265 | TOT 4.79 HDL 0.96 | PASS |
|  | LIPID CII |  | TOT 6.49 HDL 1.46 | PASS |
| Month 2 | HBA1C | Cassette Lot | Result | Pass/fail |
| August | HBA1C CI | 10345689 | 44 | PASS |
|  | HBA1C CII |  | 67 | PASS |
|  | LIPID | Cassette Lot | Result | Pass /Fail |
|  | LIPID CI | 102346753 | TOT 4.78 HDL 0.97 | PASS |
|  | LIPID CII |  | TOT 6.51 HDL 1.51 | PASS |

Quality Control Log No.1.

| Months | July / August 25 | Sample Lot no. | HBA1C CI | HBA1C CII |
| --- | --- | --- | --- | --- |
| Practitioner |  |  |  |  |
| Month | Date of Test | Target (Range) in mmol/mol |  |  |
| July |  | Sample Lot no. | LIPID CI | LIPD CII |
| August |  | Target (Range) in mmol/L TOT CHL |  |  |
|  |  | HDL |  |  |
| Month 1 | HBA1C | Cassette Lot | Result | Pass/fail |
| July | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass/fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |
| Month 2 | HBA1C | Cassette Lot | Result | Pass/fail |
| August | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass /Fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |

Quality Control Log No. 2

| Months | September / October 2025 | Sample Lot no. | HBA1C CI | HBA1C CII |
| --- | --- | --- | --- | --- |
| Practitioner |  |  |  |  |
| Month | Date of Test | Target (Range) in mmol/mol |  |  |
| September |  | Sample Lot no. | LIPID CI | LIPD CII |
| October |  | Target (Range) in mmol/L TOT CHL |  |  |
|  |  | HDL |  |  |
| Month 1 | HBA1C | Cassette Lot | Result | Pass/fail |
| September | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass/fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |
| Month 2 | HBA1C | Cassette Lot | Result | Pass/fail |
| October | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass /Fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |

Quality Control Log No. 3

| Months | November / December 2025 | Sample Lot no. | HBA1C CI | HBA1C CII |
| --- | --- | --- | --- | --- |
| Practitioner |  |  |  |  |
| Month | Date of Test | Target (Range) in mmol/mol |  |  |
| November |  | Sample Lot no. | LIPID CI | LIPD CII |
| December |  | Target (Range) in mmol/L TOT CHL |  |  |
|  |  | HDL |  |  |
| Month 1 | HBA1C | Cassette Lot | Result | Pass/fail |
| November | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass/fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |
| Month 2 | HBA1C | Cassette Lot | Result | Pass/fail |
| December | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass /Fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |

Quality Control Log No. 4

| Months | January / February 2026 | Sample Lot no. | HBA1C CI | HBA1C CII |
| --- | --- | --- | --- | --- |
| Practitioner |  |  |  |  |
| Month | Date of Test | Target (Range) in mmol/mol |  |  |
| January |  | Sample Lot no. | LIPID CI | LIPD CII |
| February |  | Target (Range) in mmol/L TOT CHL |  |  |
|  |  | HDL |  |  |
| Month 1 | HBA1C | Cassette Lot | Result | Pass/fail |
| January | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass/fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |
| Month 2 | HBA1C | Cassette Lot | Result | Pass/fail |
| February | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass /Fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |

Quality Control Log No. 5

| Months | March / April 2026 | Sample Lot no. | HBA1C CI | HBA1C CII |
| --- | --- | --- | --- | --- |
| Practitioner |  |  |  |  |
| Month | Date of Test | Target (Range) in mmol/mol |  |  |
| March |  | Sample Lot no. | LIPID CI | LIPD CII |
| April |  | Target (Range) in mmol/L TOT CHL |  |  |
|  |  | HDL |  |  |
| Month 1 | HBA1C | Cassette Lot | Result | Pass/fail |
| March | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass/fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |
| Month 2 | HBA1C | Cassette Lot | Result | Pass/fail |
| April | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass /Fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |

Quality Control Log No. 6

| Months | May / June 2026 | Sample Lot no. | HBA1C CI | HBA1C CII |
| --- | --- | --- | --- | --- |
| Practitioner |  |  |  |  |
| Month | Date of Test | Target (Range) in mmol/mol |  |  |
| May |  | Sample Lot no. | LIPID CI | LIPD CII |
| June |  | Target (Range) in mmol/L TOT CHL |  |  |
|  |  | HDL |  |  |
| Month 1 | HBA1C | Cassette Lot | Result | Pass/fail |
| May | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass/fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |
| Month 2 | HBA1C | Cassette Lot | Result | Pass/fail |
| June | HBA1C CI |  |  |  |
|  | HBA1C CII |  |  |  |
|  | LIPID | Cassette Lot | Result | Pass /Fail |
|  | LIPID CI |  | TOT HDL |  |
|  | LIPID CII |  | TOT HDL |  |

© 2023 Abbott. All rights reserved. All trademarks referenced are trademarks of either the Abbott group of companies or their respective owners. COL- 00983 v2 03/ 2023